## Slide 1
Intra-day variation evaluation

## Slide 2
 | [Standard], uM | % DMSO |  |  |  |  |  |  |  | 
 |  | 0 | 0.01 | 0.05 | 0.1 | 0.2 | 0.5 | 1 | 2 | 5
A | 0 | 61 | 63 | 49 | 45 | 53 | 46 | 45 | 49 | 47
B | 0.234375 | 201 | 214 | 219 | 196 | 221 | 220 | 228 | 231 | 235
C | 0.46875 | 358 | 363 | 383 | 329 | 363 | 392 | 391 | 394 | 403
D | 0.9375 | 642 | 678 | 673 | 599 | 649 | 673 | 678 | 675 | 721
E | 1.875 | 1110 | 1131 | 1158 | 1095 | 1115 | 1140 | 1145 | 1210 | 1245
F | 3.75 | 1967 | 1984 | 2014 | 1976 | 1950 | 2012 | 2074 | 2084 | 2186
G | 7.5 | 3367 | 3232 | 3565 | 3239 | 3250 | 3407 | 3537 | 3574 | 3730
H | 15 | 5803 | 4844 | 5274 | 5475 | 5453 | 5610 | 5610 | 5632 | 5910
Slope (0-15uM) |  | 402.54 | 351.49 | 383.27 | 384.37 | 382.78 | 396.3 | 400.47 | 402.63 | 422.29
R2 |  | 0.9532 | 0.9426 | 0.95 | 0.9757 | 0.9743 | 0.9716 | 0.9651 | 0.963 | 0.9639
Slope (0-7.5uM) |  | 461.79 | 449.79 | 488.11 | 451.48 | 451.12 | 472.41 | 488.92 | 493.95 | 516.56
R2 |  | 0.9862 | 0.9754 | 0.9875 | 0.9804 | 0.979 | 0.9808 | 0.9839 | 0.9829 | 0.9825
Plate I (1/13/2016)

## Slide 3
Plate II (1/13/2016)
 | [Standard], uM | % DMSO |  |  |  |  |  |  |  | 
 |  | 0 | 0.01 | 0.05 | 0.1 | 0.2 | 0.5 | 1 | 2 | 5
A | 0 | 43 | 45 | 46 | 46 | 43 | 44 | 42 | 46 | 44
B | 0.234375 | 202 | 205 | 205 | 192 | 214 | 213 | 218 | 217 | 220
C | 0.46875 | 347 | 363 | 368 | 337 | 363 | 373 | 376 | 388 | 382
D | 0.9375 | 632 | 645 | 648 | 601 | 655 | 651 | 650 | 648 | 696
E | 1.875 | 1112 | 1105 | 1133 | 1076 | 1113 | 1121 | 1165 | 1168 | 1163
F | 3.75 | 1904 | 1847 | 1783 | 1844 | 1902 | 1908 | 1968 | 1982 | 2019
G | 7.5 | 3421 | 3417 | 3409 | 3298 | 3234 | 3309 | 3478 | 3457 | 3451
H | 15 | 5473 | 5428 | 5345 | 5298 | 5254 | 5278 | 5282 | 5356 | 5554
Slope (0-15uM) |  | 388.36 | 385.12 | 380.06 | 375.14 | 372.82 | 375.92 | 381.58 | 384.56 | 395.08
R2 |  | 0.9717 | 0.9716 | 0.9693 | 0.9728 | 0.9676 | 0.9659 | 0.9557 | 0.96 | 0.9667
Slope (0-7.5uM) |  | 467.45 | 463.9 | 460.47 | 450.17 | 449.09 | 456.91 | 478.33 | 476.26 | 478.35
R2 |  | 0.9889 | 0.9896 | 0.988 | 0.9892 | 0.9787 | 0.9821 | 0.9853 | 0.984 | 0.9806

## Slide 4
% DMSO | Plate I (1/13/16) |  | Plate II (1/13/16) |  | Avg | Stdv | cv%
 | Slope | Linearity | Slope | Linearity |  |  | 
0 | 402.54 | 0.9832 | 388.36 | 0.9717 | 395.45 | 10.0 | 2.5
0.01 | 351.49 | 0.9426 | 385.12 | 0.9716 | 368.31 | 23.8 | 6.5
0.05 | 383.27 | 0.95 | 380.06 | 0.9693 | 381.67 | 2.3 | 0.6
0.1 | 384.37 | 0.9757 | 375.14 | 0.9718 | 379.76 | 6.5 | 1.7
0.2 | 382.78 | 0.9743 | 372.82 | 0.9676 | 377.80 | 7.0 | 1.9
0.5 | 396.3 | 0.9716 | 375.92 | 0.9659 | 386.11 | 14.4 | 3.7
1 | 400.47 | 0.9651 | 381.58 | 0.9557 | 391.03 | 13.4 | 3.4
2 | 402.63 | 0.963 | 384.56 | 0.96 | 393.60 | 12.8 | 3.2
5 | 422.29 | 0.9639 | 395.08 | 0.9667 | 408.69 | 19.2 | 4.7
Intra-day variation
Remarks:
Sample preparation details
  Different % DMSO (0-5%) solutions were prepared.
  Different concentration of standard solutions (0- 15uM) were prepared using aforementioned solutions.
  50 ul of working solutions were added into each well. Then 50ul of 1x Developer was added.
  The mixture will be incubated for 15min then read at TeCan.
  The plate I and Plate II samples were prepared and read at same day.
The coefficient of variation (cv%) in range 0.6-6.5% is acceptable. Intra-day % CVs should be less than 10. https://www.salimetrics.com/assets/documents/Spit_Tips_-_Inter__Intra_Assay_Coefficients_of_Variability.pdf

## Slide 5
Inter-day variation evaluation

## Slide 6
[Standard], uM | 1/13/2016 |  | 1/12/2016 |  | Avg | Stdv | cv%
 | Plate I | Plate II | Plate I | Plate II |  |  | 
0 | 39 | 39 | 49 | 42 | 42 | 4.7 | 11.2
0.234375 | 211 | 201 | 266 | 248 | 232 | 30.6 | 13.2
0.46875 | 375 | 351 | 456 | 431 | 403 | 48.6 | 12.0
0.9375 | 660 | 639 | 768 | 773 | 710 | 70.4 | 9.9
1.875 | 1184 | 1131 | 1395 | 1326 | 1259 | 122.5 | 9.7
3.75 | 1987 | 1972 | 2085 | 2253 | 2074 | 129.3 | 6.2
7.5 | 3466 | 3548 | 4133 | 4168 | 3829 | 373.3 | 9.8
15 | 6202 | 5699 | 7021 | 6646 | 6392 | 570.5 | 8.9
Slope | 427.96 | 404.23 | 487.64 | 472.09 | 448 | 38.6 | 8.6
Inter-day variation
Standard curve in assay buffer
Remarks:
Sample preparation details
  Different concentration of standard solutions (0- 15uM) were prepared in assay buffer.
  50 ul of working solutions were added into each well. Then 50ul of 1x Developer was added.
  The mixture will be incubated for 15min then read at TeCan.
  The experiments were performed at different day.
The coefficient of variation (cv%) in range 6.2 – 13.2% is acceptable. Inter-assay % CVs of less than 15 are generally acceptable.
https://www.salimetrics.com/assets/documents/Spit_Tips_-_Inter__Intra_Assay_Coefficients_of_Variability.pdf

## Slide 7
 | [Standard], uM | % DMSO |  |  |  |  |  | 
 |  | 0.05 | 0.1 | 0.2 | 0.5 | 1 | 2 | 5
A | 0 | 22 | 22 | 22 | 25 | 23 | 25 | 26
B | 0.234375 | 87 | 81 | 81 | 114 | 115 | 110 | 117
C | 0.46875 | 144 | 130 | 125 | 185 | 164 | 178 | 186
D | 0.9375 | 241 | 219 | 175 | 311 | 333 | 313 | 301
E | 1.875 | 405 | 366 | 330 | 516 | 548 | 506 | 561
F | 3.75 | 695 | 607 | 581 | 859 | 953 | 968 | 932
G | 7.5 | 1151 | 1076 | 1158 | 1451 | 1507 | 1575 | 1644
H | 15 | 2000 | 1738 | 1908 | 2399 | 2675 | 2697 | 2745
Slope (0-15uM) |  | 138.87 | 122.45 | 132.31 | 169.07 | 185.88 | 188.36 | 192.26
R2 |  | 0.9787 | 0.9712 | 0.9866 | 0.9689 | 0.9766 | 0.9779 | 0.9778
Inter-day variation
Standard curve in % DMSO (0.05%-5%)
12/21/2015
 | [Standard], uM | % DMSO |  |  |  |  |  | 
 |  | 0.05 | 0.1 | 0.2 | 0.5 | 1 | 2 | 5
A | 0 | 18 | 19 | 20 | 19 | 26 | 28 | 38
B | 0.234375 | 68 | 74 | 71 | 74 | 76 | 112 | 91
C | 0.46875 | 112 | 116 | 110 | 112 | 116 | 157 | 137
D | 0.9375 | 189 | 193 | 187 | 197 | 197 | 261 | 218
E | 1.875 | 311 | 323 | 317 | 337 | 340 | 424 | 358
F | 3.75 | 530 | 539 | 524 | 529 | 573 | 673 | 597
G | 7.5 | 946 | 979 | 912 | 680 | 1010 | 1006 | 1022
H | 15 | 1657 | 1564 | 1514 | 1428 | 1808 | 1621 | 1715
Slope (0-15uM) |  | 110.4 | 105.87 | 91.966 | 96.088 | 123.22 | 115.64 | 118.2
R2 |  | 0.9715 | 0.9753 | 0.9803 | 0.9626 | 0.9899 | 0.9361 | 0.9792
12/17/2015

## Slide 8
Inter-day variation
Standard curve in % DMSO (0.05%-5%)
% DMSO | 12/17/2015 |  | 12/21/2015 |  | Avg | Stdv | cv%
 | Slope | Linearity | Slope | Linearity |  |  | 
0.05 | 110.4 | 0.9715 | 138.87 | 0.9787 | 124.635 | 20.1 | 16.2
0.1 | 105.87 | 0.9753 | 122.45 | 0.9712 | 114.16 | 11.7 | 10.3
0.2 | 91.966 | 0.9803 | 132.31 | 0.9866 | 112.138 | 28.5 | 25.4
0.5 | 96.088 | 0.9626 | 169.07 | 0.9689 | 132.579 | 51.6 | 38.9
1 | 123.22 | 0.9899 | 185.88 | 0.9766 | 154.55 | 44.3 | 28.7
2 | 115.64 | 0.9361 | 188.36 | 0.9779 | 152 | 51.4 | 33.8
5 | 118.2 | 0.9792 | 192.26 | 0.9778 | 155.23 | 52.4 | 33.7
Remarks:
Sample preparation details
  Different % DMSO (0.05-5%) solutions were prepared.
  Different concentration of standard solutions (0- 15uM) were prepared using aforementioned solutions.
  50 ul of working solutions were added into each well. Then 50ul of 1x Developer was added.
  The mixture will be incubated for 15min then read at TeCan.
  The experiments were performed at different day.
The coefficient of variation (cv%) in range 10.3 – 38.9% is exit the acceptable range (<=15%). https://www.salimetrics.com/assets/documents/Spit_Tips_-_Inter__Intra_Assay_Coefficients_of_Variability.pdf

## Slide 9
% DMSO | 12/17/2015 | 12/21/2015 | 1/13/2016 | 1/13/2016 | Avg | Stdv | cv%
0.05 | 110.4 | 138.87 | 380.06 | 383.27 | 253.2 | 148.9 | 58.8
0.1 | 105.87 | 122.45 | 375.14 | 384.37 | 247.0 | 153.5 | 62.2
0.2 | 91.966 | 132.31 | 372.82 | 382.78 | 245.0 | 154.3 | 63.0
0.5 | 96.088 | 169.07 | 375.92 | 396.3 | 259.3 | 149.6 | 57.7
1 | 123.22 | 185.88 | 381.58 | 400.47 | 272.8 | 139.1 | 51.0
2 | 115.64 | 188.36 | 384.56 | 402.63 | 272.8 | 142.8 | 52.3
5 | 118.2 | 192.26 | 395.08 | 422.29 | 282.0 | 149.8 | 53.1
Inter-day variation
Standard curve in % DMSO (0.05%-5%)
Remarks:
The standard curves done in 12/17-12/21/2015 were not comparable to those done in 1/13/2016.
Putting them together, the coefficient of variation (cv%) in range 51.0 – 63.0% is exit the acceptable range (<=15%). https://www.salimetrics.com/assets/documents/Spit_Tips_-_Inter__Intra_Assay_Coefficients_of_Variability.pdf
The slopes obtained during 12/17-12/21/2015 were ¼ to ½ of those obtained on 1/13/2016, which indicated
  The Fluor de Lys standard stock solutions used for late 2015 experiments may not good
  Something might go wrong for the developer solution, such as
      Developer stock solutions were not good
      Thaw / refreeze cycle influences developer efficiency
Talking about standard curves done in 12/17-12/21/2015 themselves, the cv% values were still exceed the acceptable range (see slide 8).

## Slide 10
Previous ppt files with date

## Slide 11
Standard Curve at Different concentration of DHP1c in 0.05% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c
0 | 18 | 184
0.234375 | 68 | 202
0.46875 | 112 | 218
0.9375 | 189 | 306
1.875 | 311 | 428
3.75 | 530 | 628
7.5 | 946 | 981
15 | 1657 | 1675
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.05% DMSO 0uM DHP1c | 0 | 50 | 94 | 171 | 293 | 512 | 928 | 1639
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.05% DMSO 5uM DHP1c | 0 | 18 | 34 | 122 | 244 | 444 | 797 | 1491

## Slide 12
Standard Curve at Different concentration of DHP1c in 0.1% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c
0 | 19 | 194 | 272
0.234375 | 74 | 198 | 269
0.46875 | 116 | 238 | 314
0.9375 | 193 | 224 | 380
1.875 | 323 | 453 | 485
3.75 | 539 | 652 | 675
7.5 | 979 | 1068 | 1126
15 | 1564 | 1645 | 1664
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 0uM DHP1c | 0 | 55 | 97 | 174 | 304 | 520 | 960 | 1545
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 5uM DHP1c | 0 | 4 | 44 | 30 | 259 | 458 | 874 | 1451
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 10uM DHP1c | 0 | 3 | 45 | 111 | 216 | 406 | 857 | 1395

## Slide 13
Standard Curve at Different concentration of DHP1c in 0.2% DMSO
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c
0 | 20 | 164 | 257
0.234375 | 71 | 175 | 254
0.46875 | 110 | 197 | 266
0.9375 | 187 | 278 | 320
1.875 | 317 | 379 | 451
3.75 | 524 | 564 | 626
7.5 | 912 | 984 | 1001
15 | 1514 | 1458 | 1589
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.2% DMSO 0uM DHP1c | 0 | 51 | 90 | 167 | 297 | 504 | 892 | 1494
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.2% DMSO 5uM DHP1c | 0 | 11 | 33 | 114 | 215 | 400 | 820 | 1294
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.2% DMSO 10uM DHP1c | 0 | -3 | 9 | 63 | 194 | 369 | 744 | 1332

## Slide 14
Standard Curve at Different concentration of DHP1c in 0.5% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 19 | 162 | 245 | 487
0.234375 | 74 | 185 | 233 | 455
0.46875 | 112 | 225 | 294 | 428
0.9375 | 197 | 294 | 333 | 501
1.875 | 337 | 434 | 456 | 635
3.75 | 529 | 627 | 676 | 836
7.5 | 680 | 1066 | 930 | 1209
15 | 1428 | 1559 | 1559 | 1793
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 0uM DHP1c | 0 | 55 | 93 | 178 | 318 | 510 | 661 | 1409
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 5uM DHP1c | 0 | 23 | 63 | 132 | 272 | 465 | 904 | 1397
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 10uM DHP1c | 0 | 49 | 88 | 211 | 431 | 685 | 1314
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 25uM DHP1c | 0 | 14 | 148 | 349 | 722 | 1306

## Slide 15
Standard Curve at Different concentration of DHP1c in 1% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 26 | 365 | 502 | 1137
0.234375 | 76 | 394 | 458 | 1066
0.46875 | 116 | 437 | 540 | 1081
0.9375 | 197 | 487 | 586 | 1175
1.875 | 340 | 681 | 746 | 1199
3.75 | 573 | 899 | 872 | 1341
7.5 | 1010 | 1329 | 1252 | 1660
15 | 1808 | 1763 | 1928 | 2127
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 0uM DHP1c | 0 | 50 | 90 | 171 | 314 | 547 | 984 | 1782
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 5uM DHP1c | 0 | 29 | 72 | 122 | 316 | 534 | 964 | 1398
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 10uM DHP1c | 0 | 38 | 84 | 244 | 370 | 750 | 1426
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 25uM DHP1c | 0 | 38 | 62 | 204 | 523 | 990

## Slide 16
Standard Curve at Different concentration of DHP1c in 2% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 28 | 373 | 659 | 1169
0.234375 | 112 | 379 | 627 | 1105
0.46875 | 157 | 407 | 678 | 1114
0.9375 | 261 | 428 | 707 | 1143
1.875 | 424 | 557 | 747 | 1210
3.75 | 673 | 700 | 904 | 1303
7.5 | 1006 | 1121 | 1290 | 1653
15 | 1621 | 1712 | 1936 | 2226
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 0uM DHP1c | 0 | 84 | 129 | 233 | 396 | 645 | 978 | 1593
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 5uM DHP1c | 0 | 6 | 34 | 55 | 184 | 327 | 748 | 1339
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 10uM DHP1c | 0 | 19 | 48 | 88 | 245 | 631 | 1277
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 25uM DHP1c | 0 | -26 | 41 | 134 | 484 | 1057

## Slide 17
Standard Curve at Different concentration of DHP1c in 5% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 38 | 374 | 546 | 1172
0.234375 | 91 | 382 | 553 | 1175
0.46875 | 137 | 394 | 567 | 1191
0.9375 | 218 | 456 | 641 | 1217
1.875 | 358 | 573 | 709 | 1271
3.75 | 597 | 747 | 865 | 1409
7.5 | 1022 | 1178 | 1289 | 1714
15 | 1715 | 1813 | 1961 | 2403
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 0uM DHP1c | 0 | 53 | 99 | 180 | 320 | 559 | 984 | 1677
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 5uM DHP1c | 0 | 8 | 20 | 82 | 199 | 373 | 804 | 1439
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 10uM DHP1c | 0 | 7 | 21 | 95 | 163 | 319 | 743 | 1415
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 25uM DHP1c | 0 | 3 | 19 | 45 | 99 | 237 | 542 | 1231

## Slide 18
Chart: [Flour de Lys Standard], uM
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
200uM DHP1c | 2435 | 2601 | 2385 | 2173 | 2063 | 2127 | 2042 | 2767
300uM DHP1c | 2993 | 3419 | 3170 | 2957 | 2843 | 2757 | 2704 | 2744
400uM DHP1c | 3781 | 3906 | 3702 | 3615 | 3397 | 3224 | 3245 | 3416
500uM DHP1c | 4656 | 4629 | 4403 | 4249 | 4022 | 3755 | 3837 | 3821
1000uM DHP1c | 5556 | 5570 | 5450 | 5216 | 5037 | 4647 | 4513 | 4547
2000uM DHP1c | 6713 | 6549 | 6382 | 6358 | 5902 | 5320 | 5209 | 4656
[Standard], uM | 200uM DHP1c | 300uM DHP1c | 400uM DHP1c | 500uM DHP1c | 1000uM DHP1c | 2000uM DHP1c
0 | 2435 | 2993 | 3781 | 4656 | 5556 | 6713
0.234375 | 2601 | 3419 | 3906 | 4629 | 5570 | 6549
0.46875 | 2385 | 3170 | 3702 | 4403 | 5450 | 6382
0.9375 | 2173 | 2957 | 3615 | 4249 | 5216 | 6358
1.875 | 2063 | 2843 | 3397 | 4022 | 5037 | 5902
3.75 | 2127 | 2757 | 3224 | 3755 | 4647 | 5320
7.5 | 2042 | 2704 | 3245 | 3837 | 4513 | 5209
15 | 2767 | 2744 | 3416 | 3821 | 4547 | 4656
Standard Curve at High concentration of DHP1c in 5% DMSO _ 11.30.2015

## Slide 19
Standard Curve at Different concentration of DHP2c in 0.05% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 22 | 167 | 555 | 788
0.234375 | 87 | 245 | 626 | 894
0.46875 | 144 | 278 | 656 | 891
0.9375 | 241 | 360 | 713 | 948
1.875 | 405 | 511 | 841 | 1068
3.75 | 695 | 730 | 1057 | 1284
7.5 | 1151 | 1224 | 1556 | 1608
15 | 2000 | 2049 | 2203 | 2290
Slope | 138.87 | 130.56 | 116.2 | 104.3
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.05% DMSO 0uM DHP2c | 0 | 65 | 122 | 219 | 383 | 673 | 1129 | 1978
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.05% DMSO 5uM DHP2c | 0 | 78 | 111 | 193 | 344 | 563 | 1057 | 1882
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.05% DMSO 10uM DHP2c | 0 | 71 | 101 | 158 | 286 | 502 | 1001 | 1648
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.05% DMSO 25uM DHP2c | 0 | 106 | 103 | 160 | 280 | 496 | 820 | 1502

## Slide 20
Standard Curve at Different concentration of DHP2c in 0.1% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 22 | 252 | 449 | 713
0.234375 | 81 | 354 | 499 | 774
0.46875 | 130 | 398 | 502 | 802
0.9375 | 219 | 506 | 610 | 856
1.875 | 366 | 517 | 669 | 922
3.75 | 607 | 837 | 950 | 1082
7.5 | 1076 | 969 | 1405 | 1590
15 | 1738 | 1861 | 2173 | 2181
Slope | 122.45 | 108.45 | 118.37 | 101.88
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 0uM DHP2c | 0 | 59 | 108 | 197 | 344 | 585 | 1054 | 1716
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 5uM DHP2c | 0 | 102 | 146 | 254 | 265 | 585 | 717 | 1609
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 10uM DHP2c | 0 | 50 | 53 | 161 | 220 | 501 | 956 | 1724
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 25uM DHP1c | 0 | 61 | 89 | 143 | 209 | 369 | 877 | 1468

## Slide 21
Standard Curve at Different concentration of DHP2c in 0.2% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 22 | 265 | 402 | 736
0.234375 | 81 | 320 | 462 | 746
0.46875 | 125 | 390 | 484 | 757
0.9375 | 175 | 486 | 550 | 755
1.875 | 330 | 594 | 696 | 915
3.75 | 581 | 827 | 885 | 1087
7.5 | 1158 | 1315 | 1345 | 1475
15 | 1908 | 2098 | 2065 | 2081
Slope | 132.31 | 127.92 | 115.24 | 91.337
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.2% DMSO 0uM DHP2c | 0 | 59 | 103 | 153 | 308 | 559 | 1136 | 1886
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.2% DMSO 5uM DHP2c | 0 | 55 | 125 | 221 | 329 | 562 | 1050 | 1833
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.2% DMSO10uM DHP2c | 0 | 60 | 82 | 148 | 294 | 483 | 943 | 1663
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.1% DMSO 25uM DHP2c | 0 | 10 | 21 | 19 | 179 | 351 | 739 | 1345

## Slide 22
Standard Curve at Different concentration of DHP2c in 0.5% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 25 | 191 | 426 | 650
0.234375 | 114 | 265 | 480 | 737
0.46875 | 185 | 318 | 495 | 852
0.9375 | 311 | 418 | 611 | 921
1.875 | 516 | 622 | 784 | 1038
3.75 | 859 | 916 | 1037 | 1244
7.5 | 1451 | 1569 | 1634 | 1847
15 | 2399 | 2449 | 2542 | 2729
Slope | 169.07 | 160.08 | 146.61 | 144.96
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 0uM DHP2c | 0 | 89 | 160 | 286 | 491 | 834 | 1426 | 2374
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 5uM DHP2c | 0 | 74 | 127 | 227 | 431 | 725 | 1378 | 2258
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 10uM DHP2c | 0 | 54 | 69 | 185 | 358 | 611 | 1208 | 2116
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0.5% DMSO 25uM DHP2c | 0 | 87 | 202 | 271 | 388 | 594 | 1197 | 2079

## Slide 23
Standard Curve at Different concentration of DHP2c in 1% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 23 | 265 | 506 | 778
0.234375 | 115 | 359 | 583 | 842
0.46875 | 164 | 420 | 630 | 814
0.9375 | 333 | 532 | 724 | 879
1.875 | 548 | 727 | 866 | 1056
3.75 | 953 | 1069 | 1182 | 1143
7.5 | 1507 | 1748 | 1653 | 1893
15 | 2675 | 2751 | 2888 | 2717
Slope | 185.88 | 175.47 | 159.42 | 131.55
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 0uM DHP2c | 0 | 92 | 141 | 310 | 525 | 930 | 1484 | 2652
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 5uM DHP2c | 0 | 94 | 155 | 267 | 462 | 804 | 1483 | 2486
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 10uM DHP2c | 0 | 77 | 124 | 218 | 360 | 676 | 1147 | 2382
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
1% DMSO 25uM DHP2c | 0 | 64 | 36 | 101 | 278 | 365 | 1115 | 1939

## Slide 24
Standard Curve at Different concentration of DHP2c in 2% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 25 | 288 | 420 | 749
0.234375 | 110 | 347 | 521 | 791
0.46875 | 178 | 401 | 575 | 883
0.9375 | 313 | 510 | 622 | 965
1.875 | 506 | 664 | 851 | 922
3.75 | 968 | 989 | 1137 | 1171
7.5 | 1575 | 1518 | 1754 | 1903
15 | 2697 | 2630 | 2824 | 2921
Slope | 188.36 | 159.89 | 166.17 | 144.73
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 0uM DHP2c | 0 | 85 | 153 | 288 | 481 | 943 | 1550 | 2672
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 5uM DHP2c | 0 | 59 | 113 | 222 | 376 | 701 | 1230 | 2342
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 10uM DHP2c | 0 | 101 | 155 | 202 | 431 | 717 | 1334 | 2404
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
2% DMSO 25uM DHP2c | 0 | 42 | 134 | 216 | 173 | 422 | 1154 | 2172

## Slide 25
Standard Curve at Different concentration of DHP2c in 5% DMSO (12/17/2015-12/22/2015)
[Standard], uM | 0uM DHP1c | 5uM DHP1c | 10uM DHP1c | 25uM DHP1c
0 | 26 | 320 | 462 | 798
0.234375 | 117 | 387 | 477 | 809
0.46875 | 186 | 419 | 561 | 894
0.9375 | 301 | 539 | 720 | 1053
1.875 | 561 | 640 | 868 | 1206
3.75 | 932 | 1087 | 1187 | 1472
7.5 | 1644 | 1662 | 1823 | 2083
15 | 2745 | 2884 | 2785 | 3090
slope | 192.26 | 174.24 | 162.76 | 158.67
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 0uM DHP2c | 0 | 91 | 160 | 275 | 535 | 906 | 1618 | 2719
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 5uM DHP2c | 0 | 67 | 99 | 219 | 320 | 767 | 1342 | 2564
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 10uM DHP2c | 0 | 15 | 99 | 258 | 406 | 725 | 1361 | 2323
Chart: 
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5% DMSO 25uM DHP2c | 0 | 11 | 96 | 255 | 408 | 674 | 1285 | 2292

## Slide 26
Standard curve at Assay Buffer and
0.01% DMSO w and w/o [DHP2c]
  Solubility of DHP2c in assay buffer : ~ 100uM
  Solubility of DHP2c in DMSO: >70mg/ml

## Slide 27
Chart: 5uM DHP2c in Assay buffer
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 205 | 347 | 671 | 1251 | 2166 | 4006 | 6527
 | 0 | 205 | 347 | 671 | 1251 | 2166 | 4006
Chart: 10uM DHP2c in Assay buffer
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 160 | 327 | 597 | 1050 | 1783 | 3258 | 5369
 | 0 | 160 | 327 | 597 | 1050 | 1783 | 3258
[Standard], uM | [DHP2c] = 5 uM | [DHP2c] = 10 uM | [DHP2c] = 25 uM | [DHP2c] = 50 uM
0 | 263 | 463 | 994 | 1624
0.234375 | 468 | 623 | 1134 | 1757
0.46875 | 610 | 790 | 1268 | 1797
0.9375 | 934 | 1060 | 1445 | 2023
1.875 | 1514 | 1513 | 1790 | 2326
3.75 | 2429 | 2246 | 2429 | 2940
7.5 | 4269 | 3721 | 3814 | 4200
15 | 6790 | 5832 | 5726 | 5833
In Assay Buffer with different concentration of DHP2c (1/11/2016 – 1/12/2016)

## Slide 28
Chart: 25uM DHP2c in Assay buffer
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 140 | 274 | 451 | 796 | 1435 | 2820 | 4732
 | 0 | 140 | 274 | 451 | 796 | 1435 | 2820
Chart: 50uM DHP2c in Assay buffer
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 133 | 173 | 399 | 702 | 1316 | 2576 | 4209
 | 0 | 133 | 173 | 399 | 702 | 1316 | 2576
In Assay Buffer with different concentration of DHP2c (1/11/2016 – 1/12/2016)

## Slide 29
[Standard], uM | [DHP2c] = 0 uM | [DHP2c] = 5 uM | [DHP2c] = 10 uM | [DHP2c] = 25 uM
0 | 39 | 215 | 439 | 915
0.234375 | 192 | 362 | 583 | 1082
0.46875 | 340 | 524 | 722 | 1193
0.9375 | 600 | 810 | 962 | 1447
1.875 | 1013 | 1221 | 1383 | 1844
3.75 | 1725 | 1966 | 2111 | 2596
7.5 | 3036 | 3319 | 3528 | 3951
15 | 4890 | 5408 | 5377 | 6080
In 0.01% DMSO with different concentration of DHP2c (1/11/2016 – 1/12/2016)
Chart: 0uM DHP2c in 0.01% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 153 | 301 | 561 | 974 | 1686 | 2997 | 4851
 | 0 | 153 | 301 | 561 | 974 | 1686 | 2997
Chart: 5uM DHP2c in 0.01% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 147 | 309 | 595 | 1006 | 1751 | 3104 | 5193
 | 0 | 147 | 309 | 595 | 1006 | 1751 | 3104

## Slide 30
In 0.01% DMSO with different concentration of DHP2c (1/11/2016 – 1/12/2016)
Chart: 10uM DHP2c in 0.01% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 144 | 283 | 523 | 944 | 1672 | 3089 | 4938
 | 0 | 144 | 283 | 523 | 944 | 1672 | 3089
Chart: 25uM DHP2c in 0.01% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 167 | 278 | 532 | 929 | 1681 | 3036 | 5165
 | 0 | 167 | 278 | 532 | 929 | 1681 | 3036

## Slide 31
Remarks (1/11/2016 – 1/12/2016)
Concentration of DHP2c stock solution in assay buffer is 100uM. The concentration of DHP2c stock solution in DMSO is 250mM.
0.001% DMSO solution can not be made since 0.01 ul of DMSO is needed to be added into 1000 ul of assay buffer. And the smallest scale for current Pipette is 0.1ul.
In 0.01% DMSO solution the highest [DHP2c] achieved is 25uM. For 50uM solution, more DHP2c stock solution need to be added which manually increases %DMSO.
Summary of slopes of the standard curves
[DHP2c], uM | 0% DMSO | 0.01% DMSO
0 | 487.64 | 347.00
5 | 464.22 | 367.90
10 | 381.27 | 353.14
25 | 331.98 | 363.22
50 | 297.38 |