## Slide 1: DMSO Effects

## Slide 2
 | Control in Assay Buffer | Control in 5% DMSO
Best-fit values |  | 
Vmax | 0.1974 | 0.1997
Km | 544.3 | 817.2
Std. Error |  | 
Vmax | 0.03692 | 0.005442
Km | 324.7 | 59.8
95% Confidence Intervals |  | 
Vmax | 0.03852 to 0.3563 | 0.1763 to 0.2231
Km | 0.0 to 1941 | 559.9 to 1075
Goodness of Fit |  | 
Degrees of Freedom | 2 | 2
R square | 0.7894 | 0.9976
Absolute Sum of Squares | 0.0009536 | 0.00001247
Sy.x | 0.02184 | 0.002497
Constraints |  | 
Km | Km > 0.0 | Km > 0.0
Number of points |  | 
Analyzed | 4 | 4
Chart: Assay buffer (1.13.2015_plate I)
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 140 | 297 | 581 | 1049 | 1906 | 3306 | 5742
 | 0 | 140 | 297 | 581 | 1049 | 1906 | 3306
Chart: 5% DMSO (1.13.2015_plate I)
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 188 | 356 | 674 | 1198 | 2139 | 3683 | 5863
 | 0 | 188 | 356 | 674 | 1198 | 2139 | 3683
Michaelis-Menten _ Enzo SIRT3 (1.29.2016 - 2.1.16)

## Slide 3
 | Control in Assay Buffer | Control in 5% DMSO
Best-fit values |  | 
Vmax | 0.1657 | 0.3673
Km | 544.8 | 817.4
Std. Error |  | 
Vmax | 0.03093 | 0.01003
Km | 324.2 | 59.92
95% Confidence Intervals |  | 
Vmax | 0.03260 to 0.2988 | 0.3242 to 0.4105
Km | 0.0 to 1940 | 559.5 to 1075
Goodness of Fit |  | 
Degrees of Freedom | 2 | 2
R square | 0.7904 | 0.9976
Absolute Sum of Squares | 0.0006685 | 4.234e-005
Sy.x | 0.01828 | 0.004601
Constraints |  | 
Km | Km > 0.0 | Km > 0.0
Number of points |  | 
Analyzed | 4 | 4
Chart: [Standard], uM
| 0 | 15 | 7.5 | 3.75 | 1.875 | 0.9375
 | 0 | 4130 | 2060 | 1050 | 501 | 217
Chart: 5% DMSO (Dependence of enzyme activity on DMSO concentration_11.25.2015)
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 62 | 110 | 204 | 369 | 647 | 1170 | 1999
Assay buffer (Dependence of enzyme activity on DMSO concentration_11.25.2015)
Remarks
The Vmax changed significantly using different standard curve.

## Slide 4
Michaelis-Menten Fit _ Enzo SIRT3 (Plos One)
Best-fit values | Control in Assay buffer
Vmax | 0.1911
Km | 640.2
Std. Error | 
Vmax | 0.006088
Km | 58.78
95% Confidence Intervals | 
Vmax | 0.1717 to 0.2105
Km | 453.2 to 827.3
Goodness of Fit | 
Degrees of Freedom | 3
R square | 0.9968
Absolute Sum of Squares | 3.557e-005
Sy.x | 0.003443
Constraints | 
Km | Km > 0.0
Number of points | 
Analyzed | 5
Chart: [Standard], uM
| 15 | 7.5 | 3.75 | 1.875 | 0.9375 | 0.46875 | 0.234375 | 0
 | 2483 | 1287 | 648 | 334 | 162 | 82 | 34 | 0
Assay buffer

## Slide 5
 | Control in Assay buffer | 50uM DHP1c
Best-fit values |  | 
Vmax | 0.1842 | 0.2082
Km | 981.4 | 669.5
Std. Error |  | 
Vmax | 0.01105 | 0.01391
Km | 144.9 | 126.8
95% Confidence Intervals |  | 
Vmax | 0.1491 to 0.2194 | 0.1639 to 0.2525
Km | 520.4 to 1442 | 266.1 to 1073
Goodness of Fit |  | 
Degrees of Freedom | 3 | 3
R square | 0.9932 | 0.9869
Absolute Sum of Squares | 0.00006245 | 0.0001749
Sy.x | 0.004563 | 0.007635
Constraints |  | 
Km | Km > 0.0 | Km > 0.0
Number of points |  | 
Analyzed | 5 | 5
Michaelis-Menten _ Enzo SIRT3 (Biorxiv)
Chart: [Standard], uM
| 0 | 15 | 7.5 | 3.75 | 1.875 | 0.9375 | 0.46875
 | 0 | 5153 | 2535 | 1292 | 626 | 281 | 133
Assay buffer

## Slide 6
Chart: [Fluor de Lys Standard], uM
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0uM DHP1c | 0 | 21 | 30 | 114 | 245 | 459 | 974 | 1632
Chart: [Fluor de Lys Standard], uM
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0uM DHP1c | 0 | 61 | 109 | 207 | 357 | 637 | 1117 | 1936
 | Control in 5% DMSO | 25uM DHP1c
Best-fit values |  | 
Vmax | 0.1202 | 0.141
Km | 2998 | 2152
Std. Error |  | 
Vmax | 0.0123 | 0.003943
Km | 513.9 | 112.6
95% Confidence Intervals |  | 
Vmax | 0.06733 to 0.1732 | 0.1240 to 0.1580
Km | 786.6 to 5209 | 1667 to 2636
Goodness of Fit |  | 
Degrees of Freedom | 2 | 2
R square | 0.9961 | 0.9995
Absolute Sum of Squares | 0.000004711 | 0.000001095
Sy.x | 0.001535 | 0.0007399
Constraints |  | 
Km | Km > 0.0 | Km > 0.0
Number of points |  | 
Analyzed | 4 | 4
Michaelis-Menten _ Purified enzyme(12. 15)
5% DMSO (Different concentration of DHP1c in 5% DMSO_11.30.15)
5% DMSO with 25uM DHP1c (Different concentration of DHP1c in 5% DMSO_11.30.15)

## Slide 7
Chart: 
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
In-house SIRT3 | 304 | 460 | 562 | 647 | 565 | 431 | 258 | 49
Remarks
Activation was observed in the presence of DMSO in range 5% - 40% using 11.24.15 standard curves.
Inhibition was observed in the presence of 5% DMSO using 1.13.16 standard curves.
The use of proper standard curve makes different.
% DMSO | 0min | 60min | DAFU | Ratio | 11.24.2015 |  |  | 1.13.2016 |  | 
 |  |  |  |  | Slope | DmM | Ratio | Slope | DmM | Ratio
0 | 406 | 710 | 304 | 1.0 | 275.2 | 1.105 | 1.0 | 233.7 | 1.301 | 1.0
5 | 360 | 606 | 246 | 0.8 | 140.5 | 1.751 | 1.6 | 239.2 | 1.029 | 0.8
10 | 439 | 899 | 460 | 1.5 | 130.4 | 3.528 | 3.2 |  |  | 
20 | 447 | 1009 | 562 | 1.8 |  |  |  |  |  | 
25 | 420 | 1067 | 647 | 2.1 | 136.1 | 4.754 | 4.3 |  |  | 
30 | 425 | 990 | 565 | 1.9 |  |  |  |  |  | 
35 | 380 | 811 | 431 | 1.4 | 132.8 | 3.246 | 2.9 |  |  | 
40 | 369 | 627 | 258 | 0.8 | 145.3 | 1.776 | 1.6 |  |  | 
50 | 334 | 383 | 49 | 0.2 | 144.9 | 0.338 | 0.3 |  |  | 
Chart: % DMSO
| 0 | 5 | 10 | 20 | 25 | 30 | 35 | 40 | 50
Delta AFU | 1 | 0.80921 | 1.5132 | 1.8487 | 2.1283 | 1.8586 | 1.4178 | 0.84868 | 0.16118
DeltauM_11.24.2015 | 1 | 1.5854 | 3.1935 | 4.3033 | 2.9384 | 1.6075 | 0.30606
DeltauM_1.13.2016 | 1 | 0.79074

## Slide 8
Remarks
The ratio changes significant based on DAFU and DmM data. This is the main idea of using standard curve to study the precise activation / inhibition behavior for potential drug candidate.
The use of different standard curve is critical.
Chart: 
Enzo SIRT3 | 854 | 899 | 1088 | 1271 | 1127 | 841 | 702 | 140
Chart: % DMSO
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
Ratio(DeltaAFU) | 1 | 1.0527 | 1.274 | 1.4883 | 1.3197 | 0.98478 | 0.82201 | 0.16393
Ratio(DeltauM) | 1 | 2.2218 | 3.0094 | 2.0411 | 1.557 | 0.31127
% DMSO | 0min | 60min | DAFU | Ratio | 11.24.2015 |  |  |  | 1.13.2016 |  |  | 1.13.2016 |  | 
 |  |  |  |  | Slope | DmM | Ratio | pmoles | Slope | DmM | pmoles | Slope | DmM | pmoles
0 | 418 | 1272 | 854 | 1.00 | 275.2 | 3.103 | 1.0 | 155.2 | 233.7 | 3.654 | 182.7 | 207.9 | 4.108 | 205.4
10 | 450 | 1349 | 899 | 1.05 | 130.4 | 6.895 | 2.2 |  |  |  |  |  |  | 
20 | 464 | 1552 | 1088 | 1.27 |  |  |  |  |  |  |  |  |  | 
25 | 464 | 1735 | 1271 | 1.49 | 136.1 | 9.339 | 3.0 |  |  |  |  |  |  | 
30 | 421 | 1548 | 1127 | 1.32 |  |  |  |  |  |  |  |  |  | 
35 | 381 | 1222 | 841 | 0.98 | 132.8 | 6.334 | 2.0 |  |  |  |  |  |  | 
40 | 369 | 1071 | 702 | 0.82 | 145.3 | 4.832 | 1.6 |  |  |  |  |  |  | 
50 | 327 | 467 | 140 | 0.16 | 144.9 | 0.966 | 0.3 |  |  |  |  |  |  | 
Note: Principle pmoles for 2.5U 60min: 150

## Slide 9
Correlation of Peak Area vs. [DHP 1c] in 100% DMSO (Method2)_11.19.15
Chart: [DHP1c], uM
| 2.5 | 5 | 10 | 20 | 30 | 40 | 50 | 100 | 200 | 300 | 400
 | 12420 | 25737 | 49731 | 101990 | 152900 | 198444 | 246606 | 411196 | 825792 | 837936 | 946611
 | 12420 | 25737 | 49731 | 101990 | 152900 | 198444 | 246606 | 411196 | 825792
Correlation of Peak Area vs. [DHP 1c] in 5% DMSO (Method2)_11.19.15
Chart: [DHP 1c], uM
| 2.5 | 5 | 10 | 20 | 30 | 40 | 50 | 100 | 200 | 300 | 400
 | 5676 | 11316 | 24771 | 45625 | 88620 | 102950 | 92664 | 190650 | 329866 | 446137 | 478611
 | 5676 | 11316 | 24771 | 45625 | 88620 | 102950 | 92664
Remarks
The linearity of peak area vs. [DHP1c] in 5% DMSO was poor compare to that in 100% DMSO, which indicated that the potential solubility issue for DHP1c was exist.
In 5% DMSO, [DHP1c]≤ ~ 50uM is most likely soluble.
Notes: Method 2 sample preparation
5 ul of Different concentrations of DHP1c samples (prepared by Method 2) diluted in 95ul of either DMSO (100% DMSO fianl) or Assay Buffer (5% DMSO final).
The above solution (100ul) was tested for Fluorescence Intensity Scan at emission wavelength in range 330-600nm in a 2nm-step scan wavelength.
The samples in Assay buffer provided lower Fluorescence intensity than those in DMSO do. These can be too possible explanations
  DHP 1c in higher concentration of DMSO are more soluble than those in Assay buffer, which bring up the signal
  Higher concentration DMSO itself brings up the background, which will unlikely happen (see slides 1 and 2 for detail.)
Another interesting observation is that in 100% DMSO the Emmax(wavelength) is about the same (440-445nm); in 5% DMSO Emmax(wavelength) is shifted from 440- 476nm.
Correlation of Peak area vs. [DHP 1c]
  Linear relationship was observed up to ~75uM DHP1c in 100% DMSO
  Linear relationship was observed up to ~50uM? DHP1c in Assay Buffer (5% DMSO)